TOOLS FOR PLUMBING AND PIPEFITTING

SLEDGE HAMMER

A sledgehammer is a tool with a large, flat, often metal head, attached to a long handle. The long handle combined with a heavy head allows the sledgehammer to gather momentum during a swing and apply a large force compared to hammers designed to drive nails.

CAST IRON SNAP CUTTER

The fastest way to cut cast iron soil pipe and small diameter concrete pipe is with a chain pipe cutter (snap cutter).

CHISEL

A chisel is a tool with a characteristically shaped cutting edge of blade on its end, for carving or cutting a hard material such as wood, stone, or metal by hand, struck with a mallet, or mechanical power. The handle and blade of some types of chisel are made of metal or of wood with a sharp edge in it.

CORDLESS DRILL

A cordless drill is an electric drill which uses rechargeable batteries. These drills are available with similar features to an AC mains-powered drill. ... They are available in the hammer drill configuration and most have a clutch, which aids in driving screws into various substrates while not damaging them.

FAUCET HANDLE PULLER

Faucet Handle Puller to quickly and easily remove a seized faucet handle from a valve stem. This handle puller removes all types of hooded, cross arm or lever type handles regardless of how tightly they are frozen to the stem. It also prevents broken or bent stems.

GAP PLIER

Pliers are a hand tool used to hold objects firmly, possibly developed from tongs used to handle hot metal. They are also useful for bending and compressing a wide range of materials.

COPPER PIPE CUTTER

A pipecutter is a type of tool used by plumbers to cut pipe. Besides producing a clean cut, the tool is often a faster, cleaner, and more convenient way of cutting pipe than using a hacksaw, although this depends on the metal of the pipe. There are two types of pipe cutters.

OFFSET PIPE WRENCH

Aluminum Offset Pipe Wrench is a plumbing wrench that offers professional strength and quality in a lighter tool. ... It features a jaw opening parallel to the handle and a narrower hook jaw head that allows you to grip pipes at awkward angles or in tight spots.

PEX CRIMPERS

This tool is also called “crimp ring removal tool” and its' purpose is to remove copper crimp rings from finished connections and eliminate the waste of PEX fittings. A PEX decrimping tool is a worthwhile investment for larger installations, such as whole-house plumbing.

PLASTIC TUBE CUTTER (SCISSORS TYPE)

A pipecutter is a type of tool used by plumbers to cut pipe. Besides producing a clean cut, the tool is often a faster, cleaner, and more convenient way of cutting pipe than using a hacksaw, although this depends on the metal of the pipe.

PVC HAND SAW

PVC Hand Saw is designed to cut PVC, Styrofoam and other materials. The blade is made with heat-treated metal for strength and longevity and features a tapered edge to ensure straighter cuts. The handle is made with a high-impact plastic material.

SINK PLUNGER

Sink plungers will have a rubber cup at the end of a straight handle. This plunger is good for sinks both in bathrooms and kitchens but can also be used in bathtubs. This type of plunger works well on a flat surface where the cup can lay flat over the drain and create the vacuum necessary to properly dislodge the clog.

SPARKING IGNITER

An electric apparatus, sparkcoil, or induction-coil, which is used in gas- or gasolene-engines to ignite the charge in the engine-cylinder by means of an electric spark produced in the cylinder at the proper point of the piston-stroke.

SPUD WRENCH

A spud wrench is a wrench with an adjustable or standard box wrench on one end and a tapered spike on the other. The spike can be used to line up bolt holes when installing pipe fittings, doing automotive work or—in the case of iron workers—for lining up bolt holes in girders and beams.

STRAP WRENCH

A strap wrench is any of various types of wrench that grip an object via a strap or chain being pulled in tension around it until it firmly grips. High static friction keeps it from slipping.

TELESCOPIC BASIN WRENCH

A telescopic basin wrench has an extendable shaft to reach faucets with really deep sink basins.

HELMENT

A hard hat is a type of helmet predominantly used in workplace environments such as industrial or construction sites to protect the head from injury due to falling objects, impact with other objects, debris, rain, and electric shock. ... Some helmet shells have a mid-line reinforcement ridge to improve impact resistance.

SAFETY WORK SHEOS (LEATHER)

Safety boots are shoes made with a protective reinforcement at the front making them quite durable. The reinforcement helps to protect the toes from falling objects or any kind of compression. They are normally installed with a sole plate in the main sole to prevent against punctures that may come from below.

COVERALL

A one-piece protective garment worn for heavy manual work; a boiler suit.